1.6.3. Tender text

.......... units

Linear step twist outlet for mounting in a step front, generating twisted supply air jets to ensure a direct and draught-free fresh air supply to the occupied zone, with rapid equalization of supply and indoor air temperatures at floor level,

consisting of:

a front plate with linear air discharge slots arranged vertically and horizontally, and featuring good aerodynamic properties; outlet fastening by means of screws, brackets, or claw fasteners.

Material:

- Linear step twist outlet made of galvanized sheet metal powder coated to RAL 9005, jet-black 2)

- Fastening brackets made of galvanized sheet metal

- Claw fasteners made of galvanized sheet metal

Make: Krantz

Type: SD-L – ____– ___– ____

Subject to technical alterations.

2) Other colours on request

Krantz GmbH
Uersfeld 24, 52072 Aachen, Germany
Phone: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de