1.6.2. Tender text  Seat displacement outlet Q-ST

… units
Seat displacement outlet, integrated into a seat leg, for draughtfree fresh air supply to the occupied zone,

consisting of:

- a perforated metal cylinder (seat leg) with fixed throttle at the intake side for equal air supply to all seat displacement outlets connected to a pressurized plenum

- a built-in air distributor for equal air supply to the perforated metal cylinder

Floor connection with flange

Material:

- Seat leg made of sheet metal

- Air distributor made of galvanized sheet metal

- All visible parts powder coated to RAL ....

Make:  KRANTZ KOMPONENTEN
Type:  Q–ST ….

Subject to technical alterations.

Krantz GmbH
Uersfeld 24, 52072 Aachen, Germany
Phone: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de