1.2.5. Tender text Window air curtain unit FSG

… units
Window air curtain unit for installation along the inner side of a facade where it generates an air curtain,

consisting of:

- a linear discharge element with several slots in a line,

- a connection box with lateral connection spigot(s), fastening brackets under the connection box and upper cover profile.

Material

- Discharge element and connection box made of galvanized sheet metal

- Cover profile made of galvanized sheet metal powder coated to RAL ....

Make: KRANTZ KOMPONENTEN

Type: FSG – _____ – ___

Subject to technical alterations.

Krantz GmbH
Uersfeld 24, 52072 Aachen, Germany
Phone: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de