2.1.2. Tender text Static cooling ceiling system for visible installation, SKS-5/3

Static cooling ceiling system SKS-5/3 consisting of single, compact, high-capacity cooling elements for easy ceiling installation, with:

- copper piping 12 x 0.5 mm featuring a smooth, neat and dry inside surface to DIN 1787, tolerances to DIN 8905, in serpentine design with connections for chilled water inflow and outflow as straight pipe ends,

- flat, triangular cooling fins made from aluminium extruded profile, with chilled water pipes pushed into,

- rear fastening profiles for uniform levelling of cooling fins, serving as suspensions from the ceiling (number dependent on cooling element length)

Technical Data

Cooling output per cooling element:		 W

Cooling water supply temperature:		°C

Water return temperature: 		 °C

Cooling water flow per cooling element: 		..................... l/h

Room temperature:		 °C

Free area of suspended ceiling:		 %

Covered area (exclusive of piping):		 %

Pressure loss per cooling element:		 kPa

Max. operating pressure (standard):	600 kPa

Water quality: 	Mains water

Dimensions
Nominal length:		 mm
Nominal width:		 mm

Nominal height:	                  60 mm

Pipe spacing:	150 mm
Connection:	one-sided or two sided

Connection type: Pipe end for push-in fitting (standard Da = 12 mm)
  Press-fitted or solder connection (standard Da = 12 mm)

Colour:	– white similar to RAL 9010

– other colours on request

Quantity of cooling elements: 		 Units

Fabrikat:	KRANTZ
Type	SKS-5/3

Subject to technical alterations!

Krantz GmbH
Uersfeld 24, 52072 Aachen, Deutschland
Tel.: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de