1.3.4. Tender text

.......... units

NTK floor twist outlet for installation in a floor plenum; round, for generating twisted, stable, vertical air jets,

consisting of:

- floor insert with carpet protection ring and four claw fasteners,

- air outlet element with radial air slots and central recess; recess depth 4.5 mm for optional insertion of a piece of carpet,

- perforated throttle disc for stepless adjustment of volume flow rate by hand (can be operated during system balancing).

- Accessory: lid to close the central recess.

Material:

Air outlet made of polycarbonate, outer surfaces matted to be made scratch-resistant, body-tinted in a colour similar to RAL 7037 1)

Make: Krantz

Type: DB–N – DN 215 – D – __

Subject to technical alterations.

1) other colours on request

Krantz GmbH
Uersfeld 24, 52072 Aachen, Germany
Phone: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de