1.4.1. Tender text Rectangular displacement outlet Q-R

… units

Rectangular displacement outlet to generate extremely lowturbulence displacement flow with large penetration depth in commercial rooms,

air distribution via integrated guide device,

placement on the floor, either in front of a wall, parapet or pillar or free-standing in room, or integration into room furniture,

consisting of:

- slim rectangular housing with perforated metal front sheet,

- either with rectangular connection spigot (to fit standard ducts) with optional corner flange or with circular connection spigot to fit ducts to EN 1506 (spiral seam ducts) or to EN 13180 (flexible ducts);

- position of connection spigot on top or at bottom,

- optional fasteners for wall mounting.

Material:

Air outlet made of galvanized sheet metal, face powder coated to RAL ....

Make: KRANTZ KOMPONENTEN

Type: Q-R – ____ / ____ / ___ – __ – __ – ____ – __

Subject to technical alterations.

Krantz GmbH
Uersfeld 24, 52072 Aachen, Germany
Phone: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de