1.4.2.2. Tender text Semi-circular displacement outlet Q-ZH

…  unit
Circular displacement outlet for floor installation,
for extremely low-turbulence displacement flow and large penetration depth in commercial rooms,

made up of:
sheet steel housing, finely perforated sheet casing and built-in air distribution devices.

Model semi-circular, best positioned in front of walls and pillars, air distribution via integrated distribution mat; air outlet housing easy to open for maintenance of the air distribution mat

Connection spigot to fit DIN 24 145 pipes (folded spiral- seam tube) or DIN 24 146 (flexible tubes),
Position  above.  below.

Technical data
Supply air volume flow rate:		 l/s (m3/h)
Adm. sound power level:		 dB(A) ref. 10-12 W

Material:	galvanized steel

Quality paint, colour:	RAL

Size and nominal diameter
of connection spigot:	DN	
Casing diameter:		 mm
Height:		 mm

Make:	KRANTZ KOMPONENTEN
Type:	Q – ZH

– Subject to technical alterations –

Krantz GmbH
Uersfeld 24, 52072 Aachen, Germany
Phone: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de