1.2.3.3 Tender text Jet nozzle, type DW-N2 1)

… units
Non-adjustable jet nozzle for air distribution into large spaces, with rounded intake featuring good aerodynamic and acoustic properties.

- Connection type K with flange for connection to a pressurized plenum or a rectangular duct.

- Connection type R with push-in end for insertion into a circular duct to EN 1506, with seal.

- Connection type F with slip-on end for shaped parts to EN 1506.

Material:

- Nozzle body made of aluminium in natural colour or painted to RAL ....

- Push-in and slip-on ends made of galvanized sheet metal

Make:	KRANTZ KOMPONENTEN
Type:	DW–N2

Subject to technical alternations.

1) Available with twist element on request

Krantz GmbH
Uersfeld 24, 52072 Aachen, Germany
Phone: +49 241 441-1, Fax: +49 241 441-555
info@krantz.de, www.krantz.de